**B64-206**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-206&lgsku=B64-206&rk=1&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=qJ83d-JnRhWR7RwI&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-206)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 100,000; BtuH Heating Output: 80,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 17.7; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 383;

Brand: **Coleman**Mfg #: **PCG4A361003X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B66-964**

[TCD2B60S31S 13.4S2 5T 3P](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-964&lgsku=B66-964&rk=2&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=q0c%3aiSefYhlF7fIe&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-964)

Brand: **Coleman**Mfg #: **TCD2B60S31S**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B64-212**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-212&lgsku=B64-212&rk=3&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=6HMdWE-U0wwXOs81&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-212)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 65,000; BtuH Heating Output: 52,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 25.2; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 469;

Brand: **Coleman**Mfg #: **PCG4B600653X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B79-356**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-356&lgsku=B79-356&rk=4&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=x1fhd-w1-nU1aW9L&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-356)

SEER: 13; EER: 11.75; Nom. Tons: 5; Volts: 208/230; Phase: Three; Min. Circuit Amps: 21.2; Max. Fuse Size: 35; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8"; Refrigerant: R410A; Width: 38"; Height: 36-1/4"; Depth: 34-1/4"; Wt. Lbs.: 205;

Brand: **Coleman**Mfg #: **TCD60B31S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B64-214**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-214&lgsku=B64-214&rk=5&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=49VIi0DGhP0gw8WJ&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-214)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 125,000; BtuH Heating Output: 100,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 25.2; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 479;

Brand: **Coleman**Mfg #: **PCG4B601253X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B61-258**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 3 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB61-258&lgsku=B61-258&rk=6&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=a3e-Halym0rl1p1W&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB61-258)

EER: 12.25; Nom. Tons: 3; Volts: 208/230; Phase: Three; Min. Circuit Amps: 14.34; Max. Fuse Size: 20; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 29-1/4"; Height: 36-1/4"; Depth: 29-1/4"; Wt. Lbs.: 160;

Brand: **Coleman**Mfg #: **TCD36B32S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**L86-597**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-597&lgsku=L86-597&rk=7&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=M5ZXRte2vjVEHcce&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-597)

Nom. kW: 15.0; Volts: 208/240; Wt. Lbs.: 56;

Brand: **Goodman**Mfg #: **AHKD15-3**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**L86-599**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-599&lgsku=L86-599&rk=8&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=xEQoO8uqhEbVNr49&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-599)

Nom. kW: 20.0; Volts: 208/240; Wt. Lbs.: 59;

Brand: **Goodman**Mfg #: **AHKD20-3**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B79-354**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 4 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-354&lgsku=B79-354&rk=9&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=pAWUu%3a05WopGobrB&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-354)

SEER: 13; EER: 11.75; Nom. Tons: 4; Volts: 208/230; Phase: Three; Min. Circuit Amps: 18.4; Max. Fuse Size: 30; Liquid Conn.: 3/8"; Suction Fitting: 7/8"; Refrigerant: R410A; Width: 35-1/4"; Height: 33-1/4"; Depth: 31-3/4"; Wt. Lbs.: 200;

Brand: **Coleman**Mfg #: **TCD48B31S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B79-355**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 4 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-355&lgsku=B79-355&rk=10&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=yFwdpISbE1dmrwdA&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-355)

SEER: 13; EER: 11.75; Nom. Tons: 4; Volts: 460; Phase: Three; Min. Circuit Amps: 8.4; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 7/8"; Refrigerant: R410A; Width: 31-3/4"; Height: 33-1/4"; Depth: 31-3/4"; Wt. Lbs.: 200;

Brand: **Coleman**Mfg #: **TCD48B41S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B79-257**

[Single Packaged Gas/Electric Air Conditioner 14 SEER, Three-Phase, 5 Ton, 81% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-257&lgsku=B79-257&rk=11&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=Ki8jKPtlG7CdViuH&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-257)

SEER: 14; EER: 11.0; Nom. Tons: 5; BtuH Cooling: 57,000; BtuH Heating Input: 80,000; BtuH Heating Output: 64,800; Volts: 208/230; Phase: Three; Motor Type: EEM; Nom. CFM: 1,750; Min. Circuit Amps: 29.3; Refrigerant: R410A; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 533;

Brand: **Daikin**Mfg #: **DP14GM6108043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**L86-601**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-601&lgsku=L86-601&rk=12&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=Vpl3aQHm2evj22SL&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-601)

Nom. kW: 30.0; Volts: 208/240; Wt. Lbs.: 60;

Brand: **Goodman**Mfg #: **AHKD30-3**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B64-152**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-152&lgsku=B64-152&rk=13&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=qpLIEjCDBDFlG4cn&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-152)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 16.1; Max. Fuse Size: 20; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 350;

Brand: **Coleman**Mfg #: **PCE4A3634**

[Catalog Pg.: 800](https://www.johnstonesupply.com/vCatalog/800)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/coleman)

**B79-357**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-357&lgsku=B79-357&rk=14&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=tGERNurnDqSCzKuL&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-357)

SEER: 13; EER: 11.75; Nom. Tons: 5; Volts: 460; Phase: Three; Min. Circuit Amps: 10.3; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8"; Refrigerant: R410A; Width: 34-1/4"; Height: 36-1/4"; Depth: 34-1/4"; Wt. Lbs.: 205;

Brand: **Coleman**Mfg #: **TCD60B41S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B79-255**

[Single Packaged Gas/Electric Air Conditioner 14 SEER, Three-Phase, 3 Ton, 81% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-255&lgsku=B79-255&rk=15&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=sX10HUSWIO-v3iuF&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-255)

SEER: 14; EER: 11.0; Nom. Tons: 3; BtuH Cooling: 34,200; BtuH Heating Input: 80,000; BtuH Heating Output: 64,800; Volts: 208/230; Phase: Three; Motor Type: EEM; Nom. CFM: 1,200; Min. Circuit Amps: 16.6; Refrigerant: R410A; Width: 47"; Height: 34-3/4"; Depth: 51"; Wt. Lbs.: 458;

Brand: **Daikin**Mfg #: **DP14GM3608043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**L86-600**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-600&lgsku=L86-600&rk=16&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=WWt-cMZcBAncie9u&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-600)

Nom. kW: 20.0; Volts: 460; Wt. Lbs.: 57;

Brand: **Goodman**Mfg #: **AHKD20-4**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B74-590**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-590&lgsku=B74-590&rk=17&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=BJA%3abTjUf3LDaWAL&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-590)

Description: Downflow Jade Economizer; Wt. Lbs.: 65;

Brand: **McDaniel Metals**Mfg #: **DDNECNJPGML**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**B79-366**

[Heat Pump LX Series, 14 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-366&lgsku=B79-366&rk=18&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=AJTFfdu23TYX9EjU&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-366)

SEER: 14; EER: 12.00; Nom. Tons: 5; HSPF: 9.00; COP: 3.88; Min. Circuit Amps: 21.22; Max. Fuse Size: 35; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8"\*; Refrigerant: R410A; Width: 38"; Height: 42-1/2"; Depth: 34-1/4"; Wt. Lbs.: 256;

Brand: **Coleman**Mfg #: **THE60B31S**

[Catalog Pg.: 803](https://www.johnstonesupply.com/vCatalog/803)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_heatpumps/brand/coleman)

**B64-211**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 4 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-211&lgsku=B64-211&rk=19&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=jKt1rKr%3a5q4qwEq4&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-211)

SEER: 14; EER: 11.2; Nom. Tons: 4; BtuH Cooling: 48,000; BtuH Heating Input: 125,000; BtuH Heating Output: 100,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,560; Min. Circuit Amps: 20.2; Refrigerant: R410A; Width: 45-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 460;

Brand: **Coleman**Mfg #: **PCG4B481253X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B64-223**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-223&lgsku=B64-223&rk=20&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=2F4OAMmC6-1FvPVG&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-223)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 125,000; BtuH Heating Output: 100,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 12.0; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 479;

Brand: **Coleman**Mfg #: **PCG4B601254X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B79-258**

[Single Packaged Gas/Electric Air Conditioner 14 SEER, Three-Phase, 5 Ton, 81% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-258&lgsku=B79-258&rk=21&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=H0NsOtD1MUvuKk9f&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-258)

SEER: 14; EER: 11.0; Nom. Tons: 5; BtuH Cooling: 57,000; BtuH Heating Input: 120,000; BtuH Heating Output: 97,200; Volts: 208/230; Phase: Three; Motor Type: EEM; Nom. CFM: 1,750; Min. Circuit Amps: 29.3; Refrigerant: R410A; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 543;

Brand: **Daikin**Mfg #: **DP14GM6112043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**B64-210**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 4 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-210&lgsku=B64-210&rk=22&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=v0E85McQ0ybfBBmc&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-210)

SEER: 14; EER: 11.2; Nom. Tons: 4; BtuH Cooling: 48,000; BtuH Heating Input: 100,000; BtuH Heating Output: 80,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,560; Min. Circuit Amps: 20.2; Refrigerant: R410A; Width: 45-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 456;

Brand: **Coleman**Mfg #: **PCG4B481003X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B66-965**

[TCD2B60S41S 13.4S2 5T460](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-965&lgsku=B66-965&rk=23&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=GjdW30DuyaR3loxK&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-965)

Brand: **Coleman**Mfg #: **TCD2B60S41S**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B64-205**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-6SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-205&lgsku=B64-205&rk=24&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775357036&rsc=MhFoj5r7v3QJUTGK&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-205)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 75,000; BtuH Heating Output: 60,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 16.1; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 379;

Brand: **Coleman**Mfg #: **PCG4A360753X4**

**B64-154**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-154&lgsku=B64-154&rk=25&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=wXI0xkc-ZXSCEnFY&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-154)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 25.2; Max. Fuse Size: 35; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 450;

Brand: **Coleman**Mfg #: **PCE4B6034**

[Catalog Pg.: 800](https://www.johnstonesupply.com/vCatalog/800)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/coleman)

**L80-379**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL80-379&lgsku=L80-379&rk=26&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=xocrnZNjPNPsMVWO&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL80-379)

Nom. kW: 15.0; Volts: 208/240; Wt. Lbs.: 8; Breaker: No;

Brand: **Goodman**Mfg #: **HKR3-15**

[Catalog Pg.: 747](https://www.johnstonesupply.com/vCatalog/747)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B64-216**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-216&lgsku=B64-216&rk=27&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=n7IY8xRuWvmVU9qi&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-216)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 75,000; BtuH Heating Output: 60,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 7.6; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 379;

Brand: **Coleman**Mfg #: **PCG4A360754X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B79-260**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 4 Ton, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-260&lgsku=B79-260&rk=28&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=5Ix8jFwLF1KyNRcR&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-260)

SEER: 14; EER: 11.0; Nom. Tons: 4; BtuH Cooling: 46,500; Volts: 208/230; Phase: Three; Motor Type: EEM; Nom. CFM: 1,600; Min. Circuit Amps: 23.2; Max. Fuse Size: 35; Refrigerant: R410A; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 435; BtuH Heating Input: 48,000;

Brand: **Daikin**Mfg #: **DP14CM4843**

[Catalog Pg.: 752](https://www.johnstonesupply.com/vCatalog/752)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/daikin)

**B64-153**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 4 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-153&lgsku=B64-153&rk=29&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=oYjy8OdgzzaajdYR&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-153)

SEER: 14; EER: 11.2; Nom. Tons: 4; BtuH Cooling: 48,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,560; Min. Circuit Amps: 20.2; Max. Fuse Size: 30; Refrigerant: R410A; Width: 45-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 431;

Brand: **Coleman**Mfg #: **PCE4B4834**

[Catalog Pg.: 800](https://www.johnstonesupply.com/vCatalog/800)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/coleman)

**B64-220**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 4 Ton, R410A, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-220&lgsku=B64-220&rk=30&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=WEaRRYYi%3aUxfNTiK&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-220)

SEER: 14; EER: 11.2; Nom. Tons: 4; BtuH Cooling: 48,000; BtuH Heating Input: 125,000; BtuH Heating Output: 100,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,560; Min. Circuit Amps: 11.5; Refrigerant: R410A; Width: 45-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 460;

Brand: **Coleman**Mfg #: **PCG4B481254X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B66-962**

[TCD2B48S31S 13.4S2 4T 3P](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-962&lgsku=B66-962&rk=31&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=E0YpJwha12tAAwp6&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-962)

Brand: **Coleman**Mfg #: **TCD2B48S31S**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B74-111**

[Air Conditioning Condensing Unit 13 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-111&lgsku=B74-111&rk=32&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=aYLAEkmBrT1n6Y-U&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-111)

SEER: 13; EER: 11.5; Nom. Tons: 5; BtuH Cooling: 60,000; Volts: 208/230; Phase: Three; Min. Circuit Amps: 21.3; Max. Fuse Size: 35; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8" \*; Refrigerant: R410A; Width: 35-1/2"; Height: 38-1/4"; Depth: 35-1/2"; Wt. Lbs.: 301;

Brand: **Daikin**Mfg #: **DX13SA0603**

[Catalog Pg.: 757](https://www.johnstonesupply.com/vCatalog/757)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**X92-881**

[Roof Curb](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dX92-881&lgsku=X92-881&rk=33&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=Fsm0uEJB8nb197mR&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dX92-881)

Description: 14" Roof Curb; Wt. Lbs.: 75;

Brand: **McDaniel Metals**Mfg #: **D14CRBPGCHMA**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**B79-259**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-259&lgsku=B79-259&rk=34&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=Vheo6w6mWER%3a2uxs&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-259)

SEER: 14; EER: 11.0; Nom. Tons: 3; BtuH Cooling: 35,000; Volts: 208/230; Phase: Three; Motor Type: PSC; Nom. CFM: 1,200; Min. Circuit Amps: 18.2; Max. Fuse Size: 25; Refrigerant: R410A; Width: 47"; Height: 34-3/4"; Depth: 51"; Wt. Lbs.: 365; BtuH Heating Input: 36,000;

Brand: **Daikin**Mfg #: **DP14CM3643**

[Catalog Pg.: 752](https://www.johnstonesupply.com/vCatalog/752)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/daikin)

**B64-222**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-222&lgsku=B64-222&rk=35&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=K0zZHrJ-rd5v4rA3&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-222)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 100,000; BtuH Heating Output: 80,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 12.0; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 475;

Brand: **Coleman**Mfg #: **PCG4B601004X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**L86-598**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-598&lgsku=L86-598&rk=36&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=SIFJpsTqrJnuH6QX&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-598)

Nom. kW: 15.0; Volts: 460; Wt. Lbs.: 55;

Brand: **Goodman**Mfg #: **AHKD15-4**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B79-261**

[Single Packaged Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-261&lgsku=B79-261&rk=37&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=0G-TGfb643P1KQND&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-261)

SEER: 14; EER: 11.0; Nom. Tons: 5; BtuH Cooling: 56,000; Volts: 208/230; Phase: Three; Motor Type: EEM; Nom. CFM: 1,700; Min. Circuit Amps: 28.9; Max. Fuse Size: 40; Refrigerant: R410A; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 445; BtuH Heating Input: 60,000;

Brand: **Daikin**Mfg #: **DP14CM6043**

[Catalog Pg.: 752](https://www.johnstonesupply.com/vCatalog/752)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_airconditioners/brand/daikin)

**B79-375**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-375&lgsku=B79-375&rk=38&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=EE41LxHxA8TN1RRt&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-375)

Description: Downflow Jade Economizer; Wt. Lbs.: 65;

Brand: **McDaniel Metals**Mfg #: **PGEDJ103**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**B64-207**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3-1/2 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-207&lgsku=B64-207&rk=39&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=sdrnlcWINkeUAepC&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-207)

SEER: 14; EER: 11.2; Nom. Tons: 3-1/2; BtuH Cooling: 41,500; BtuH Heating Input: 75,000; BtuH Heating Output: 60,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,350; Min. Circuit Amps: 20.4; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 398;

Brand: **Coleman**Mfg #: **PCG4A420753X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B64-208**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3-1/2 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-208&lgsku=B64-208&rk=40&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=MkqdP31lHzsB8jrC&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-208)

SEER: 14; EER: 11.2; Nom. Tons: 3-1/2; BtuH Cooling: 41,500; BtuH Heating Input: 100,000; BtuH Heating Output: 80,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,350; Min. Circuit Amps: 20.4; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 402;

Brand: **Coleman**Mfg #: **PCG4A421003X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**L86-589**

[Heat Kit Three-Phase for Single Packaged Air Conditioners and Heat Pumps](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-589&lgsku=L86-589&rk=41&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=USn8Mm0imW4q%3aV-8&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-589)

Nom. kW: 54.0; Volts: 460; Wt. Lbs.: 30;

Brand: **Coleman**Mfg #: **2TP04525446**

[Catalog Pg.: 805](https://www.johnstonesupply.com/vCatalog/805)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B74-593**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-593&lgsku=B74-593&rk=42&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=cK9-qNkP9k7313iI&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-593)

Description: Horizontal Jade Economizer; Wt. Lbs.: 75;

Brand: **McDaniel Metals**Mfg #: **DHZECNJPGCHM**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**L86-587**

[Heat Kit Three-Phase for Single Packaged Air Conditioners and Heat Pumps](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-587&lgsku=L86-587&rk=43&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=HbfoyYGi2Uhx398E&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-587)

Nom. kW: 24.0; Volts: 460; Wt. Lbs.: 30;

Brand: **Coleman**Mfg #: **2TP04522446**

[Catalog Pg.: 805](https://www.johnstonesupply.com/vCatalog/805)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**X93-181**

[Roof Curb 14In](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dX93-181&lgsku=X93-181&rk=44&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=8inWUFQAXX4nwzmK&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dX93-181)

Description: Roof Curb 14In; Wt. Lbs.: 80;

Brand: **Daikin**Mfg #: **0221L00014**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/daikin)

**B67-268**

[Air Conditioning Condensing Unit 13.4 SEER2, Three-Phase, 3 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB67-268&lgsku=B67-268&rk=45&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=dSILpjo%3aLoaOANUN&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB67-268)

Nom. Tons: 3; BtuH Cooling: 36,000; Volts: 208/230; Phase: Three; Min. Circuit Amps: 13.3; Max. Fuse Size: 20; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 29"; Height: 29"; Depth: 32-1/2"; Wt. Lbs.: 163;

Brand: **Daikin**Mfg #: **DX3SEA3630**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**L86-586**

[Heat Kit Three-Phase for Single Packaged Air Conditioners and Heat Pumps](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-586&lgsku=L86-586&rk=46&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=4d8MrEXs80tXsoXl&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-586)

Nom. kW: 18.0; Volts: 460; Wt. Lbs.: 30;

Brand: **Coleman**Mfg #: **2TP04521846**

[Catalog Pg.: 805](https://www.johnstonesupply.com/vCatalog/805)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B74-112**

[Air Conditioning Condensing Unit 13 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-112&lgsku=B74-112&rk=47&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=6QaPvJ-xQLPxIOJA&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-112)

SEER: 13; EER: 11.5; Nom. Tons: 5; BtuH Cooling: 60,000; Volts: 460; Phase: Three; Min. Circuit Amps: 10.6; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8" \*; Refrigerant: R410A; Width: 35-1/2"; Height: 38-1/4"; Depth: 35-1/2"; Wt. Lbs.: 301;

Brand: **Daikin**Mfg #: **DX13SA0604**

[Catalog Pg.: 757](https://www.johnstonesupply.com/vCatalog/757)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B74-085**

[Air Conditioning Condensing Unit 13 SEER, Three-Phase, 4 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-085&lgsku=B74-085&rk=48&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775876567&rsc=q7nzrUKKep0ioxWq&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-085)

SEER: 13; EER: 11.3; Nom. Tons: 4; BtuH Cooling: 48,000; Volts: 208/230; Phase: Three; Min. Circuit Amps: 17.6; Max. Fuse Size: 30; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8" \*; Refrigerant: R410A; Width: 29"; Height: 36-1/4"; Depth: 29"; Wt. Lbs.: 190;

Brand: **Daikin**Mfg #: **DX13SA0483**

**B64-221**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 5 Ton, R410, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-221&lgsku=B64-221&rk=49&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=8Y0XvcEBvdNDtZaw&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-221)

SEER: 14; EER: 11.2; Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 65,000; BtuH Heating Output: 52,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,810; Min. Circuit Amps: 12.0; Refrigerant: R410A; Width: 45-3/4"; Height: 50"; Depth: 51-1/4"; Wt. Lbs.: 469;

Brand: **Coleman**Mfg #: **PCG4B600654X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**L86-585**

[Heat Kit Three-Phase for Single Packaged Air Conditioners and Heat Pumps](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-585&lgsku=L86-585&rk=50&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=7vvn%3acWcdbhhoEVd&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-585)

Nom. kW: 9.0; Volts: 460; Wt. Lbs.: 30;

Brand: **Coleman**Mfg #: **2TP04520946**

[Catalog Pg.: 805](https://www.johnstonesupply.com/vCatalog/805)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**G36-579**

[Smoke Detector](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dG36-579&lgsku=G36-579&rk=51&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=9Gu0vNBPlqrOyvCb&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dG36-579)

Description: Smoke Detector; Wt. Lbs.: 9.35;

Brand: **Coleman**Mfg #: **2SD04700824**

[Catalog Pg.: 806](https://www.johnstonesupply.com/vCatalog/806)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B74-129**

[Single Packaged Gas/Electric Air Conditioner 13 SEER, Three-Phase, 3 Ton, 80% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-129&lgsku=B74-129&rk=52&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=VSoLX9T3PwU66JFB&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-129)

Nom. Tons: 3; BtuH Cooling: 35,000; BtuH Heating Input: 92,000; BtuH Heating Output: 73,600; Min. Circuit Amps: 17.6; Width: 47"; Height: 34-3/4"; Depth: 51"; Wt. Lbs.: 490;

Brand: **Daikin**Mfg #: **DP13GM3609043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**B64-204**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-204&lgsku=B64-204&rk=53&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=9ggj2SFr5jrKUjo6&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-204)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 50,000; BtuH Heating Output: 40,000; Volts: 208/230; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 16.1; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 359;

Brand: **Coleman**Mfg #: **PCG4A360503X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B74-084**

[Air Conditioning Condensing Unit 13 SEER, Three-Phase, 3 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-084&lgsku=B74-084&rk=54&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=gCyZY5JyjFsHhtbS&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-084)

SEER: 13; EER: 11.5; Nom. Tons: 3; BtuH Cooling: 36,000; Volts: 208/230; Phase: Three; Min. Circuit Amps: 14.1; Max. Fuse Size: 20; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 29"; Height: 28-3/4"; Depth: 29"; Wt. Lbs.: 196;

Brand: **Daikin**Mfg #: **DX13SA0363**

[Catalog Pg.: 757](https://www.johnstonesupply.com/vCatalog/757)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B74-086**

[Air Conditioning Condensing Unit 13 SEER, Three-Phase, 4 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-086&lgsku=B74-086&rk=55&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=U7cNuOfT0nGXxIS8&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-086)

SEER: 13; EER: 11.3; Nom. Tons: 4; BtuH Cooling: 48,000; Volts: 460; Phase: Three; Min. Circuit Amps: 8.4; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8" \*; Refrigerant: R410A; Width: 29"; Height: 36-1/4"; Depth: 29"; Wt. Lbs.: 189;

Brand: **Daikin**Mfg #: **DX13SA0484**

[Catalog Pg.: 757](https://www.johnstonesupply.com/vCatalog/757)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B64-215**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-215&lgsku=B64-215&rk=56&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=gtzQ71urzDeptl-U&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-215)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 50,000; BtuH Heating Output: 40,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 7.6; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 359;

Brand: **Coleman**Mfg #: **PCG4A360504X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**X92-893**

[Hail Guard Kit](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dX92-893&lgsku=X92-893&rk=57&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=Y86Pd92hDGsP2KS9&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dX92-893)

Description: Hail Guard Kit;

Brand: **Coleman**Mfg #: **1HG0428**

[Catalog Pg.: 806](https://www.johnstonesupply.com/vCatalog/806)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B74-595**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-595&lgsku=B74-595&rk=58&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=OKROvjJBZaD6S4iH&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-595)

Description: Downflow Economizer w/Jade Control; Wt. Lbs.: 75;

Brand: **McDaniel Metals**Mfg #: **DDNECNJ3672**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**B74-586**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-586&lgsku=B74-586&rk=59&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=tEq%3aI4RoLFavJZTu&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-586)

Description: Downflow Economizer w/Jade Control; Wt. Lbs.: 135;

Brand: **McDaniel Metals**Mfg #: **DDNECNJ90150**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**L93-325**

[Air Handler Commercial DAT Series, Multi-Position, Two-Speed, 10 Ton, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL93-325&lgsku=L93-325&rk=60&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=4TwamneAydtqJ%3a9g&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL93-325)

Nom. Tons: 10; Volts: 208/230; Motor Type: Belt-Drive; Min. Circuit Amps: 7.5; Liquid Conn.: 3/8" (2)\*; Suction Fitting: 1-1/8" (2)\*; Width: 48-1/8"; Height: 24"; Depth: 60-1/2"; Wt. Lbs.: 430;

Brand: **Daikin**Mfg #: **DAT12043**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**L93-323**

[Air Handler Commercial DAT Series, Multi-Position, Two-Speed, 7-1/2 Ton, 208/230V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL93-323&lgsku=L93-323&rk=61&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=pxgb9cHnh0iZFbFJ&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL93-323)

Nom. Tons: 7-1/2; Volts: 208/230; Motor Type: Belt-Drive; Min. Circuit Amps: 7.5; Liquid Conn.: 3/8" (2)\*; Suction Fitting: 1-1/8" (2)\*; Width: 48-1/8"; Height: 24"; Depth: 60-1/2"; Wt. Lbs.: 430;

Brand: **Daikin**Mfg #: **DAT09043**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B64-217**

[Single Packaged Gas/Heat Air Conditioner 14 SEER, Three-Phase, 3 Ton, R410A, 81% AFUE, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-217&lgsku=B64-217&rk=62&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=48eO45dLk%3aw8lu7l&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-217)

SEER: 14; EER: 11.8; Nom. Tons: 3; BtuH Cooling: 35,800; BtuH Heating Input: 100,000; BtuH Heating Output: 80,000; Volts: 460; Phase: Three; Motor Type: ECM; Nom. CFM: 1,165; Min. Circuit Amps: 8.8; Refrigerant: R410A; Width: 35-3/4"; Height: 47"; Depth: 51-1/4"; Wt. Lbs.: 383;

Brand: **Coleman**Mfg #: **PCG4A361004X4**

[Catalog Pg.: 801](https://www.johnstonesupply.com/vCatalog/801)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B60-689**

[NS-10C00CTBAA4 10T AH3P](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB60-689&lgsku=B60-689&rk=63&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=8b8mLQMweJgblEOg&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB60-689)

Width: 56; Height: 65; Wt. Lbs.: 562;

Brand: **Coleman**Mfg #: **NS-10C00CTBAA4**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B61-257**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 2-1/2 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB61-257&lgsku=B61-257&rk=64&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=yBjqQGf1DuQmdKUS&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB61-257)

EER: 12.00; Nom. Tons: 2-1/2; Volts: 460; Phase: Three; Min. Circuit Amps: 5.67; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 29-1/4"; Height: 30"; Depth: 29-1/4"; Wt. Lbs.: 140;

Brand: **Coleman**Mfg #: **TCD30B42S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**L86-588**

[Heat Kit Three-Phase for Single Packaged Air Conditioners and Heat Pumps](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-588&lgsku=L86-588&rk=65&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=QX9m6vWefaDxsbKt&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-588)

Nom. kW: 36.0; Volts: 460; Wt. Lbs.: 30;

Brand: **Coleman**Mfg #: **2TP04523646**

[Catalog Pg.: 805](https://www.johnstonesupply.com/vCatalog/805)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B74-131**

[Single Packaged Gas/Electric Air Conditioner 13 SEER, Three-Phase, 5 Ton, 80% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-131&lgsku=B74-131&rk=66&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=2vlMCU0zmEcQLnj6&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-131)

Nom. Tons: 5; BtuH Cooling: 56,500; BtuH Heating Input: 92,000; BtuH Heating Output: 73,600; Min. Circuit Amps: 29.0; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 533;

Brand: **Daikin**Mfg #: **DP13GM6009043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**B74-130**

[Single Packaged Gas/Electric Air Conditioner 13 SEER, Three-Phase, 4 Ton, 80% AFUE, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-130&lgsku=B74-130&rk=67&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=DuCMtdZSJjQgl-Rt&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-130)

Nom. Tons: 4; BtuH Cooling: 46,000; BtuH Heating Input: 92,000; BtuH Heating Output: 73,600; Min. Circuit Amps: 23.6; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 523;

Brand: **Daikin**Mfg #: **DP13GM4809043**

[Catalog Pg.: 754](https://www.johnstonesupply.com/vCatalog/754)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**L93-326**

[Air Handler Commercial DAT Series, Multi-Position, Two-Speed, 10 Ton, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL93-326&lgsku=L93-326&rk=68&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=4kq3Kec36KunqpAg&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL93-326)

Nom. Tons: 10; Volts: 460; Motor Type: Belt-Drive; Min. Circuit Amps: 3.63; Liquid Conn.: 3/8" (2)\*; Suction Fitting: 1-1/8" (2)\*; Width: 48-1/8"; Height: 24"; Depth: 60-1/2"; Wt. Lbs.: 430;

Brand: **Daikin**Mfg #: **DAT12044**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B79-264**

[Single Packaged Heat Pump 14 SEER, Three-Phase, 5 Tons, R410A, Multi-Position](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-264&lgsku=B79-264&rk=69&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=iKan0VyClVtu0cru&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-264)

Nom. Tons: 5; BtuH Cooling: 58,000; BtuH Heating Input: 57,000; EER: 11.00; HSPF: 8.3; COP: 2.2; Motor Type: Multi-Speed, ECM; Volts: 208/230; Nom. CFM: 1,850; Min. Circuit Amps: 29.6; Width: 47"; Height: 42-3/4"; Depth: 51"; Wt. Lbs.: 495;

Brand: **Daikin**Mfg #: **DP14HM6043**

[Catalog Pg.: 751](https://www.johnstonesupply.com/vCatalog/751)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedheatpumps/brand/daikin)

**B60-948**

[Air Conditioning Condensing Unit 11.2 EER, Three-Phase, 10 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB60-948&lgsku=B60-948&rk=70&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=MlFK-XVvQhi%3alwV2&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB60-948)

EER: 11.2; Nom. Tons: 10; BtuH Cooling: 120,000; Volts: 208/230; Phase: 3; Min. Circuit Amps: 46.4; Max. Fuse Size: 70; Liquid Conn.: 5/8"; Suction Fitting: 1-3/8"; Refrigerant: R410A; Width: 35-1/2"; Height: 41-1/2"; Depth: 35-1/2"; Wt. Lbs.: 345;

Brand: **Daikin**Mfg #: **DX11TA1203**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**L93-324**

[Air Handler Commercial DAT Series, Multi-Position, Two-Speed, 7-1/2 Ton, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL93-324&lgsku=L93-324&rk=71&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=qjU7crW0Vhc9NRB5&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL93-324)

Nom. Tons: 7-1/2; Volts: 460; Motor Type: Belt-Drive; Min. Circuit Amps: 3.63; Liquid Conn.: 3/8" (2)\*; Suction Fitting: 1-1/8" (2)\*; Width: 48-1/8"; Height: 24"; Depth: 60-1/2"; Wt. Lbs.: 430;

Brand: **Daikin**Mfg #: **DAT09044**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B66-629**

[DX14XA0903 7.5T 230/3 AC](https://www.johnstonesupply.com/search/go?p=R&srid=S1-4SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-629&lgsku=B66-629&rk=72&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693775962707&rsc=2u3rD6Z6UbXaBVPE&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-629)

Brand: **Daikin**Mfg #: **DX14XA0903**

**B90-389**

[Air Handler 15 Ton, Three-Phase,R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB90-389&lgsku=B90-389&rk=99&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=Cvy6K4UZIo2tLMGj&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB90-389)

Nom. Tons: 15; Liquid Conn.: 7/8"; Suction Fitting: 1-5/8"; Width: 33"; Height: 75"; Depth: 74-1/2"; Wt. Lbs.: 796;

Brand: **Coleman**Mfg #: **NH-15C00DSAAA2**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B86-084**

[Motorized Damper, Downflow without Barometric Relief](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB86-084&lgsku=B86-084&rk=100&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=85TcQghyEdMJFf7h&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB86-084)

Description: Motorized Damper, Downflow without Barometric Relief; Wt. Lbs.: 66;

Brand: **Coleman**Mfg #: **2MD04703224**

[Catalog Pg.: 806](https://www.johnstonesupply.com/vCatalog/806)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**B61-259**

[Air Conditioning Condensing Unit LX Series, 13 SEER, Three-Phase, 3 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB61-259&lgsku=B61-259&rk=101&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=W3-TnspAXWIdQYc7&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB61-259)

EER: 12.25; Nom. Tons: 3; Volts: 460; Phase: Three; Min. Circuit Amps: 7.85; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 29-1/4"; Height: 36-1/4"; Depth: 29-1/4"; Wt. Lbs.: 160;

Brand: **Coleman**Mfg #: **TCD36B42S**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**L80-271**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL80-271&lgsku=L80-271&rk=102&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=45Uz7WeSGNS7eAKA&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL80-271)

Nom. kW: 45.0; Volts: 208/240;

Brand: **Goodman**Mfg #: **EHK3-45**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B67-035**

[ZE036H10A2A1AAA1A3 3T GE](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB67-035&lgsku=B67-035&rk=103&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=xT1nRn9leD3qJ424&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB67-035)

Brand: **Coleman**Mfg #: **ZE036H10A2A1AAA1A3**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B66-255**

[ZYG12F2B3AA1A111A3 10T](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-255&lgsku=B66-255&rk=104&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=JhMSYBf3NcnI8Sb-&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-255)

Brand: **Coleman**Mfg #: **ZYG12F2B3AA1A111A3**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B60-946**

[Air Conditioning Condensing Unit 11.2 EER, Three-Phase, 7-1/2 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB60-946&lgsku=B60-946&rk=105&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=SLyWu-j5jcG6atdM&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB60-946)

EER: 11.2; Nom. Tons: 7-1/2; BtuH Cooling: 93,000; Volts: 208/230; Phase: 3; Min. Circuit Amps: 39.2; Max. Fuse Size: 60; Liquid Conn.: 5/8"; Suction Fitting: 1-3/8"; Refrigerant: R410A; Width: 35-1/2"; Height: 41-1/2"; Depth: 35-1/2"; Wt. Lbs.: 325;

Brand: **Daikin**Mfg #: **DX11TA0903**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B90-394**

[Heat Pump 7-1/2 Ton, Three-Phase, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB90-394&lgsku=B90-394&rk=106&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=2iXMWnh5DwYGF8Rr&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB90-394)

EER: 11; Nom. Tons: 7-1/2; Liquid Conn.: 5/8"; Suction Fitting: 1-1/8"; Width: 59-1/10"; Height: 44-1/2"; Depth: 31-9/10"; Wt. Lbs.: 421;

Brand: **Coleman**Mfg #: **PH-07C00ATAAA4**

[Catalog Pg.: 746](https://www.johnstonesupply.com/vCatalog/746)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_heatpumps/brand/coleman)

**B60-949**

[Air Conditioning Condensing Unit 11.2 EER, Three-Phase, 10 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB60-949&lgsku=B60-949&rk=107&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=mATYl-m4eSR6RP9p&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB60-949)

EER: 11.2; Nom. Tons: 10; BtuH Cooling: 120,000; Volts: 460; Phase: 3; Min. Circuit Amps: 22.0; Max. Fuse Size: 35; Liquid Conn.: 5/8"; Suction Fitting: 1-3/8"; Refrigerant: R410A; Width: 35-1/2"; Height: 41-1/2"; Depth: 35-1/2"; Wt. Lbs.: 340;

Brand: **Daikin**Mfg #: **DX11TA1204**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/daikin)

**B63-311**

[Gas/Electric Packaged Air Conditioner 11 EER, Three-Phase, 7-1/2 Ton, 460V, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB63-311&lgsku=B63-311&rk=108&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=KC4dL4IBOu-GRcaU&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB63-311)

SEER: 12.7; EER: 11.0; Nom. Tons: 7-1/2; BtuH Cooling: 86,000; BtuH Heating Input: 210,000; BtuH Heating Output: 168,000; Volts: 460V; Phase: Three; Motor Type: 2-Speed Belt Drive; Nom. CFM: 3,000; Min. Circuit Amps: 18.3; Refrigerant: R410A; Width: 93-3/4"; Height: 54-1/4"; Depth: 60-3/8"; Wt.…

Brand: **Daikin**Mfg #: **DBG0904VH00001S**

[Catalog Pg.: 755](https://www.johnstonesupply.com/vCatalog/755)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**L86-602**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL86-602&lgsku=L86-602&rk=109&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=0YToBLan2B%3a%3alfsx&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL86-602)

Nom. kW: 30.0; Volts: 460; Wt. Lbs.: 58;

Brand: **Goodman**Mfg #: **AHKD30-4**

[Catalog Pg.: 739](https://www.johnstonesupply.com/vCatalog/739)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B66-248**

[ZLG14E2B3AA1A111A3 12.5T](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-248&lgsku=B66-248&rk=110&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=FeDC2CYGoykJR40y&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-248)

Brand: **Coleman**Mfg #: **ZLG14E2B3AA1A111A3**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/coleman)

**B66-798**

[2EE04717425 ECONOMIZR DF](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB66-798&lgsku=B66-798&rk=111&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=efNb4%3aHjP5vBITE%3a&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB66-798)

Brand: **Coleman**Mfg #: **2EE04717425**

[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/coleman)

**L80-380**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL80-380&lgsku=L80-380&rk=112&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=c1PBKq0orCrg9PJR&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL80-380)

Nom. kW: 19.0; Volts: 208/240; Wt. Lbs.: 8; Breaker: No;

Brand: **Goodman**Mfg #: **HKR3-20**

[Catalog Pg.: 747](https://www.johnstonesupply.com/vCatalog/747)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**L81-015**

[Heat Kit Three-Phase](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dL81-015&lgsku=L81-015&rk=113&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=iDh8KYsLWaru7fly&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dL81-015)

Nom. kW: 28.8; Volts: 460;

Brand: **Goodman**Mfg #: **EHK4-31**

[Catalog Pg.: 758](https://www.johnstonesupply.com/vCatalog/758)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/goodman)

**B74-591**

[Economizer](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-591&lgsku=B74-591&rk=114&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=qEFFsF2aHB7OLBNE&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-591)

Description: Downflow Jade Economizer; Wt. Lbs.: 65;

Brand: **McDaniel Metals**Mfg #: **DDNECNJPGMM**

[Catalog Pg.: 759](https://www.johnstonesupply.com/vCatalog/759)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_accessories/brand/mcdanielmetals)

**B64-390**

[Single Packaged Heat Pump 12.5 IEER/11.2 EER,Three-Phase, 7-1/2 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB64-390&lgsku=B64-390&rk=115&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=iuM2gaJyZNy9FLj-&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB64-390)

Nom. Tons: 7-1/2; BtuH Cooling: 88,000; BtuH Heating Input: 80,000; EER: 11.2; HSPF: 8.0; COP: 3.3; Motor Type: 2-Speed Belt; Volts: 460V; Nom. CFM: 2,850; Min. Circuit Amps: 19.8; Width: 93-3/4"; Height: 54-1/4"; Depth: 60-3/8"; Wt. Lbs.: 1,162;

Brand: **Daikin**Mfg #: **DBH0904V000001S**

[Catalog Pg.: 750](https://www.johnstonesupply.com/vCatalog/750)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedheatpumps/brand/daikin)

**B62-654**

[Gas/Electric Packaged Air Conditioner 10.8 EER, Three-Phase, 15 Ton, R410A, 460V](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB62-654&lgsku=B62-654&rk=116&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=WAue6NBk4iGvKgKj&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB62-654)

EER: 10.8; Nom. Tons: 15; BtuH Cooling: 180,000; BtuH Heating Input: 350,000; BtuH Heating Output: 280,000; Volts: 460V; Phase: Three; Motor Type: 2-Speed Belt Drive; Nom. CFM: 5,600; Min. Circuit Amps: 36.6; Refrigerant: R410A; Width: 133-177/500"; Height: 50-3/4"; Depth: 88-29/250"; Wt. Lbs.: 2,083;

Brand: **Daikin**Mfg #: **DBG1804VH00001S**

[Catalog Pg.: 755](https://www.johnstonesupply.com/vCatalog/755)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**B79-367**

[Heat Pump LX Series, 14 SEER, Three-Phase, 5 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-367&lgsku=B79-367&rk=117&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=NURLZ0R4He6llWPk&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-367)

SEER: 14; EER: 12.00; Nom. Tons: 5; HSPF: 9.00; COP: 3.88; Min. Circuit Amps: 10.33; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 1-1/8"\*; Refrigerant: R410A; Width: 38"; Height: 42-1/2"; Depth: 34-1/4"; Wt. Lbs.: 256;

Brand: **Coleman**Mfg #: **THE60B41S**

[Catalog Pg.: 803](https://www.johnstonesupply.com/vCatalog/803)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_heatpumps/brand/coleman)

**B63-308**

[Gas/Electric Packaged Air Conditioner 11 EER, Three-Phase, 7-1/2 Ton, 208/230V, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB63-308&lgsku=B63-308&rk=118&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=tABis3Xwvjqm5cDi&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB63-308)

SEER: 12.7; EER: 11.0; Nom. Tons: 7-1/2; BtuH Cooling: 86,000; BtuH Heating Input: 210,000; BtuH Heating Output: 168,000; Volts: 208/230V; Phase: Three; Motor Type: 2-Speed Belt Drive; Nom. CFM: 3,000; Min. Circuit Amps: 39.6; Refrigerant: R410A; Width: 93-3/4"; Height: 54-1/4"; Depth: 60-3/8"; Wt.…

Brand: **Daikin**Mfg #: **DBG0903VH00001S**

[Catalog Pg.: 755](https://www.johnstonesupply.com/vCatalog/755)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_singlepackagedunits_packagedgasorelectric/brand/daikin)

**B74-006**

[Air Handler 7-1/2 Ton, Three-Phase, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB74-006&lgsku=B74-006&rk=119&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=P9oSA-HJlV720e3C&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB74-006)

Nom. Tons: 7-1/2; Liquid Conn.: 5/8"; Suction Fitting: 1-1/8"; Width: 30"; Height: 65"; Depth: 56"; Wt. Lbs.: 526;

Brand: **Coleman**Mfg #: **NH-07C00CSAAA2**

[Catalog Pg.: 804](https://www.johnstonesupply.com/vCatalog/804)[View Similar Items](https://www.johnstonesupply.com/shop/cat4/hvacequipment_commercial_splitsystems_airconditioning/brand/coleman)

**B79-359**

[Heat Pump LX Series, 14 SEER, Three-Phase, 2-1/2 Ton, R410A](https://www.johnstonesupply.com/search/go?p=R&srid=S1-7SYD-AWSP&lbc=johnstonesupply&w=*&url=https%3a%2f%2fwww.johnstonesupply.com%2fstorefront%2fproduct-view.ep%3fpID%3dB79-359&lgsku=B79-359&rk=120&uid=753572687&sid=2&ts=custom-cms&champclick=1&SLIPid=1693776502285&rsc=uiJGj%3aT7V8hyCBvL&method=and&isort=bestsellers&view=default&punchouturl=https%3a%2f%2fwww.johnstonesupply.com%2fproduct-view%3fpID%3dB79-359)

SEER: 14; EER: 12.00; Nom. Tons: 2-1/2; HSPF: 9.00; COP: 3.36; Min. Circuit Amps: 5.93; Max. Fuse Size: 15; Liquid Conn.: 3/8"; Suction Fitting: 3/4"; Refrigerant: R410A; Width: 35-1/4"; Height: 39-1/2"; Depth: 31-3/4"; Wt. Lbs.: 176;

Brand: **Coleman**Mfg #: **THE30B41S**